City & Guilds Safe Water Competent Person in Healthcare Premises (HTM & SHTM)

(HXT-APW)

This 5-day course will cover the required relevant learning objectives for staff to comply with: -

HTM 04-01 Policies and Principles of Healthcare Engineering

SHTM 04-01 Water Safety for Healthcare Premises Part G

Upon the successful completion of the course and assessment, delegates will be deemed Authorised Person (Water).

- Understanding of healthcare governance.

  - Legislative / local governance and relative Regulations applicable to their healthcare estate.

  - Health & Social Care Act 2012

  - Never events

  - Governance & management responsibility.

  - Safe working practices & processes

  - Qualified, competent & trained staff

  - Water safety group

  - Water safety plan

  - Risk assessment, identification of statutory and non-statutory requirements.

  - Written control scheme.

  - Emergency planning

- Awareness of prominent water borne pathogens and how they can contaminate water systems.

  - Pseudomonas aeruginosa,

  - Legionella Bacteria (Species)

  - Stenotrophomonas

  - Mycobacterium Chimera

  - Clinical Consequences of patient and staff Infection

- Understanding the role and position of Authorised Person

  - Appointment of an AP

  - Role within Water Safety Group

- Knowledge of key responsibilities of an AP

  - Adequate and documented training of personnel employed in the design, operation and maintenance of engineering services, including maintenance personnel and contractors.

  - Implementation of relevant risk assessments surveys

  - Manage and implement risk assessment recommendations.

  - Provide a safe hot and cold-water supply systems, including cooling systems, humidification, rainwater recovery systems, private water supplies.

- Explanation of the AP other responsibilities

  - Establish and audit appropriate of methods of collating monitoring records.

  - Establishing a robust method of recognising and acting on non-compliant data, including responses to noncompliant microbial sampling data

  - Actions and safe systems required to respond to emergency situations

  - Managing temporary closures of wards and sections of contaminated water supply systems

  - Ensuring hydrotherapy pools / spa pools are maintained and monitored in accordance with legislation and guidance.

  - Maintain a compliant building management system/ building energy maintenance system

  - Disinfection of appropriate equipment and systems

  - Collaboration with the WSG and infection control in microbial monitoring of water systems

Duration

This course can be delivered as a 5-day course typically starting at 10:00 and ending at 16:00 each day, or alternatively as 3 x 3 hour online live virtual classroom sessions.

Final assessment of learning will take the form of a multiple-choice quiz.