City & Guilds Safe Water Competent Person in Healthcare Premises (HTM & SHTM)

(HXT-WCP)

This 2-day course will cover the required learning objectives for staff to comply with HTM04:01 Part B 6.27 – 6.32.

Upon the successful completion of the course and assessment, delegates will be deemed Competent Person (Water).

What Will Be Covered

- Compliance of the healthcare estate and Regulations.

  - Understand the legislative / local governance and relative Regulations applicable to their healthcare estate.

- Case studies

  - Reflect on issues raised by examples of prosecutions and news articles. Group to discuss their view of case studies.

- Health & Social Care Act 2012

  - Identification of the relevant sections within the Health & Social Care Act 2012 pertinence to CP and local governance.

- Never events

  - Understanding of the term Never Events through case examples and discussion of learner’s personal experiences.

- HTM 04 2. Governance & management responsibility.

  - Identification of relevant sections which relate to average health care estate premises.

- Safe working practices & processes

  - Understanding the implications of heath and safety legislation on the day-to-day job and related processes.

- Qualified, competent & trained staff

  - Discussion with learners on their understanding of qualified and competent staff. Emphasis on this course content and assessments.

- Water safety group

  - Examples of other healthcare estates who have established WSG which have a positive impact on water hygiene.

- Water safety plan

  - Examples of other healthcare estates who have established WSP which have a positive impact on water hygiene.

- Risk assessment

  - Identification of statutory and non-statutory requirements for the provision of RA.

  - Identification of compliant and non-compliant risk assessment reporting through examples and input of learner’s experiences.

- Written control scheme. The compliance requirements, including: 	Understanding the aims and principles relating to the ACOP L8 and HSG 274 - HTMs

- Legionella Bacteria

  - Identification of legionella bacteria as a pathogen, explanation regarding species, serogroup, nutrients and health implications.

  - Areas of water systems where legionella bacteria are likely to proliferate.

- Pseudomonas aeruginosa

  - Examples of illnesses caused by pseudomonas aeruginosa, the environment in which is derives nutrients. Health implications for specific types of patients within healthcare.

- Other waterborne pathogens

  - Identification of other waterborne pathogens, Stenotrophomonas maltophilia and Mycobacterium Chimera. Health implications for specific types of patients within healthcare.

- Thermostatic mixing valves

  - Identification of failsafe testing and cleaning as per the NHS D08 guidance documentation.

- Cleaning & disinfection

  - Examples of correct cleaning techniques for various items of equipment and how to prevent the spread of pathogens

- Microbiological Monitoring

  - Explanation of correct sampling techniques and how to interpret results.

Additional Information

Successful candidates will achieve a certificate in ‘Safe Water in Healthcare Premises Competent Person’ accredited by City & Guilds. The certificate of training should be refreshed every 2 years.

Duration

This course can be delivered as a 2-day course typically starting at 10:00 and ending at 16:00 each day, or alternatively as 2 x half hour online live virtual classroom sessions.

Final assessment of learning will take the form of a multiple choice quiz.